## Slide 1
10ma-rcbo-mcb-and-anti-external-cb-trip instructions
1. Do NOT set up without prior training.
2. Always test RCBO before use.
Only the 10mA RCCB should trip.
If it does not, there may be a problem with the external Earth connection or with this tool. Do not continue to use.
3. Only test MCB if you are ready for a trip of your onsite MCB.
4. All other RK electrical connections will be connected through this.
5. If the “B6 MCB” keeps tripping due to high-current appliance, you can temporarily engage the “Bypass B6 MCB” switch.
If in doubt, ask Kheng Meng 
Always TEST RCBO before use